## Sheet1
CAPITAL PROJECTS BUDGET - 414 Barton Street
PRIORITY | NUMBER | ITEM | SPECIFIC LOCATION | DESCRIPTION | BUDGET YEAR | BUDET AMOUNT
IMMEDIATE (i) | 1 . 1 | Masonry and Wood Façade | Front of 414 Barton | Masonry repairs and removal of the deteriorated wood facade
| 1 . 2 | Windows | Level Two | Replace all wooden windows
| 1.3 | Window | Level One | Replace with windows that open
SHORT TERM (2)
| 2 . 1 | Chimney | Roof | Seal the open flue on the obsolete masonry chimney (See Long Term 3 . 1)
| 2.2 | Water Heater Pump | Second Floor 414 | monitor the corrosion on the circulation pump and replace when required
| 2.3 | Exterior-Gutters Downspouts and Drains | Roof | Keep roof drains free of debris to ensure proper drainage of water off the roof
LONG TERM (3)
| 3 . 1 | Chimney | Roof | Remove the masonry chimney to reduce maintenance